Measurement report for an excitation emission spectrum

Burner:
C2H2/O2 welding torch
 (C2H2/O2, H2/O2 welding torch or CH4/air Bunsen burner)
Start-Wavelength:
VIS:
530
 nm
UV:
no SHG

Stop-Wavelength:
VIS:
455
 nm
UV:
no SHG

Step size:
VIS:
0,04
 nm (0,04 nm)
(
UV:
no
 nm (0,02 nm)
Loopcount:
1876

Location of detection:
laser beam goes through the centre of the flame  FORMCHECKBOX 


height of the laser beam is about 60
 mm above the torch


focus of the laser beam is about 40  mm after the centre of the flame


interior cone has a height of about 90
 mm


laser beam inside the interior cone, about 30
 mm below the peak

Camera:
Flamestar old, 12 bit
 (Flamestar old or Flamestar II FS)
Gain:
7,5

Trigger from laser:
QS-Sync Trigger. High precision trigger

Delay:
160
 ns
(160 ns)
Width:
50
 ns
(50 ns)
Cooling water:
10
 °C
(10°C to 15°C)
Cooling peltier:
9.9
 °C
(10°C)
Spectrograph:
100
 l/mm
(100 l/mm or 1200 l/mm)
Centre WL:
498.96
 nm

Range:
287.34
 nm to 709.47 nm   (about 400 nm or 35 nm)

Entrance slit:
50
 µm 
(50µm)
Laser:
450
 mJ/p (450 mJ/p) IR corresponds to 200
 mJ/p (200 mJ/p) at 355nm

Rep.-Rate:
10
 Hz 
(10 Hz)
Acquisition Timing:
30
 pulses summed
(30 to 50 pulses)
Focus lens:
300
 mm focus length 
(300 mm)
Polrotator:
minimum
 for VIS (minimum, if no UV; maximum if UV)

no
 for UV (minimum if UV)

(different E-vector direction of OPO and SHG !)

Mirror:
no


     


Spectrum 1:
center
 (e.g. interior cone of the flame)


from line 132
 to line 147

Spectrum 2:
off-center
 (e.g. outer range of flame)


from line 90
 to line 121

Miscellaneous:



independent of laser polarisation, in all areas of the interior cone


Wavelength check:

[image: image1.emf]laser wavelength 

measured with 

spectrograph

laser wavelength at XPO 

program

530,62 530,49

497,45 497,40

456,18 456,10


Pulse energy:

[image: image2.emf]before: 670 nm mJ/p after: mJ/p

660 nm mJ/p mJ/p

650 nm mJ/p mJ/p

640 nm mJ/p mJ/p

630 nm mJ/p mJ/p

620 nm mJ/p mJ/p

610 nm mJ/p mJ/p

600 nm mJ/p mJ/p

590 nm mJ/p mJ/p

580 nm mJ/p mJ/p

570 nm mJ/p mJ/p

560 nm mJ/p mJ/p

550 nm mJ/p mJ/p

540 nm mJ/p mJ/p

530 nm 21,5 mJ/p 21 mJ/p

520 nm 22,2 mJ/p 21,8 mJ/p

510 nm 23,2 mJ/p 22,7 mJ/p

500 nm 24,2 mJ/p 23,8 mJ/p

490 nm 25,4 mJ/p 24,8 mJ/p

480 nm 27,3 mJ/p 26,5 mJ/p

470 nm 28,3 mJ/p 27 mJ/p

460 nm 29,3 mJ/p 28,1 mJ/p

450 nm 28,2 mJ/p 28,4 mJ/p

440 nm 26,8 mJ/p 26,8 mJ/p

430 nm mJ/p mJ/p

420 nm mJ/p mJ/p

410 nm mJ/p mJ/p


