Measurement report for an excitation emission spectrum

Burner:
C2H2/O2 welding torch
 (C2H2/O2, H2/O2 welding torch or CH4/air Bunsen burner)
Start-Wavelength:
VIS:
476.0
 nm
UV:
-

Stop-Wavelength:
VIS:
452.0
 nm
UV:
-

Step size:
VIS:
0.04
 nm (0,04 nm)
(
UV:
-
 nm (0,02 nm)
Loopcount:
601

Location of detection:
laser beam goes through the centre of the flame  FORMCHECKBOX 


total height of flame: 600
 mm


height of interior cone: 100
 mm


height of the laser beam above the torch: 60
 mm 


laser beam below the peak of interior cone:  40
 mm 


focus of the laser beam after the centre of the flame: 40
 mm

Camera:
flamestar old, 12 bit
 (Flamestar old or Flamestar II FS)
Gain:
9.0

Trigger from laser:
QS-Sync Trigger. High precision trigger

Delay:
130
 ns
(160 ns)
Width:
60
 ns
(50 ns)
Cooling water:
11
 °C
(10°C to 15°C)
Cooling peltier:
10.1
 °C
(10°C)
Spectrograph:
1200
 l/mm
(100 l/mm or 1200 l/mm)
Centre WL:
612,4
 nm

Range:
594,763
 nm to 630,036 nm   (about 400 nm or 35 nm)

Entrance slit:
50
 µm 
(50µm)
Laser:
450
 mJ/p (450 mJ/p) IR corresponds to 200
 mJ/p (200 mJ/p) at 355nm

Rep.-Rate:
10
 Hz 
(10 Hz)
Acquisition Timing:
50
 pulses summed
(30 to 50 pulses)
Focus lens:
300
 mm focus length 
(300 mm)
Polrotator:
minimum
 for VIS (minimum, if no UV; maximum if UV)

-
 for UV (minimum if UV)

(different E-vector direction of OPO and SHG !)

Mirror:
-


     


Spectrum 1:
center
 (e.g. interior cone of the flame)


from line 130
 to line 147

Spectrum 2:
off-center
 (e.g. outer range of flame)


from line 79
 to line 114

Miscellaneous:




     



     



     


Wavelength check:

[image: image1.emf]laser wavelength 

measured with 

spectrograph

laser wavelength at XPO 

program

450,14 450


Pulse energy:

[image: image2.emf]before: 670 nm mJ/p after: mJ/p

660 nm mJ/p mJ/p

650 nm mJ/p mJ/p

640 nm mJ/p mJ/p

630 nm mJ/p mJ/p

620 nm mJ/p mJ/p

610 nm mJ/p mJ/p

600 nm mJ/p mJ/p

590 nm mJ/p mJ/p

580 nm mJ/p mJ/p

570 nm mJ/p mJ/p

560 nm mJ/p mJ/p

550 nm mJ/p mJ/p

540 nm mJ/p mJ/p

530 nm mJ/p mJ/p

520 nm mJ/p mJ/p

510 nm mJ/p mJ/p

500 nm mJ/p mJ/p

490 nm mJ/p mJ/p

480 nm 26,7 mJ/p 26,7 mJ/p

470 nm 27,2 mJ/p 27,5 mJ/p

460 nm 28,1 mJ/p 28,6 mJ/p

450 nm 28,5 mJ/p 29 mJ/p

440 nm mJ/p mJ/p

430 nm mJ/p mJ/p

420 nm mJ/p mJ/p

410 nm mJ/p mJ/p


PAGE  
1

