Measurement report for an excitation emission spectrum

Burner:
C2H2/O2 wt
 (C2H2/O2, H2/O2 welding torch or CH4/air Bunsen burner)
Start-Wavelength:
VIS:
230,2 FORMTEXT 

     

 nm
UV:


Stop-Wavelength:
VIS:
229,8 FORMTEXT 

     

 nm
UV:


Step size:
VIS:
0,005 FORMTEXT 

     

 nm (0,04 nm)
(
UV:

 nm (0,02 nm)
Loopcount:
176

Location of detection:
laser beam goes through the centre of the flame  FORMCHECKBOX 


total height of flame: 600
 mm


height of interior cone: 100
 mm


height of the laser beam above the torch: 75
 mm 


laser beam below the peak of interior cone:  25
 mm 


focus of  laser (before) the centre of flame: 40
 mm


focus of VIS: 

focus of UV: 


Camera:
flamestar old, 12 bit
 (Flamestar old or Flamestar II FS)
Gain:
9,7

Trigger from laser:
QS-Sync Trigger. High precision trigger

Delay:
5050
 ns
(160 ns)
Width:
50
 ns
(50 ns)
Cooling water:
12
 °C
(10°C to 15°C)
Cooling peltier:
10
 °C
(10°C)
Spectrograph:
1200
 l/mm
(100 l/mm or 1200 l/mm)
Centre WL:
547,5
 nm

Range:
529,85
 nm to 565,15 nm   (about 400 nm or 35 nm)

Entrance slit:
80
 µm 
(50µm)
Laser:
450
 mJ/p (450 mJ/p) IR corresponds to 200
 mJ/p (200 mJ/p) at 355nm
Lamp voltage: 549,1
  V

Rep.-Rate:
10
 Hz 
(10 Hz)
Acquisition Timing:
50
 pulses summed
(30 to 50 pulses)
Focus lens:
300
 mm focus length 
(300 mm)
Polrotator:




(different E-vector direction of OPO and SHG !)

Mirror:


     


Spectrum 1:
center
 (e.g. interior cone of the flame)


from line 147
 to line 164

Spectrum 2:
off-center
 (e.g. outer range of flame)


from line 128
 to line 146

Miscellaneous:








     


Wavelength check:

Pulse energy:

PAGE  
1

