Measurement report for an excitation emission spectrum

Burner:
C2H2/O2 wt
 (C2H2/O2, H2/O2 welding torch or CH4/air Bunsen burner)
Start-Wavelength:
VIS:
506
 nm
UV:
253

Stop-Wavelength:
VIS:
476
 nm
UV:
238

Step size:
VIS:
0,04
 nm (0,04 nm)
(
UV:
0,02
 nm (0,02 nm)
Loopcount:
751

Location of detection:
laser beam goes through the centre of the flame  FORMCHECKBOX 


total height of flame: 600
 mm


height of interior cone: 100
 mm


height of the laser beam above the torch: 75
 mm 


laser beam below the peak of interior cone:  25
 mm 


focus of  laser (before) the centre of flame: 40
 mm


focus of VIS: 

focus of UV: 


Camera:
flamestar old, 12 bit
 (Flamestar old or Flamestar II FS)
Gain:
9,9

Trigger from laser:
QS-Sync Trigger. High precision trigger

Delay:
5040
 ns
(160 ns)
Width:
30
 ns
(50 ns)
Cooling water:
10
 °C
(10°C to 15°C)
Cooling peltier:
10
 °C
(10°C)
Spectrograph:
100
 l/mm
(100 l/mm or 1200 l/mm)
Centre WL:
397,82
 nm

Range:
189,396
 nm to 606,245 nm   (about 400 nm or 35 nm)

Entrance slit:
100
 µm 
(50µm)
Laser:
485
 mJ/p (450 mJ/p) IR corresponds to 538 FORMTEXT 

     

 mJ/p (200 mJ/p) at 355nm
Lamp voltage: 
  V

Rep.-Rate:
10
 Hz 
(10 Hz)
Acquisition Timing:
50
 pulses summed
(30 to 50 pulses)
Focus lens:
300
 mm focus length 
(300 mm)
Polrotator:


min  
 for UV (minimum if UV)

(different E-vector direction of OPO and SHG !)

Mirror:


     


Spectrum 1:
center
 (e.g. interior cone of the flame)


from line 139
 to line 151

Spectrum 2:
off-center
 (e.g. outer range of flame)


from line 99
 to line 130

Miscellaneous:
Only UV (double prism)







Wavelength check:

[image: image1.emf]laser wavelength 

measured with 

spectrograph

laser wavelength at XPO 

program


Pulse energy:

[image: image2.emf]before: 335 nm mJ/p after: mJ/p

330 nm mJ/p mJ/p

325 nm mJ/p mJ/p

320 nm mJ/p mJ/p

315 nm mJ/p mJ/p

310 nm mJ/p mJ/p

305 nm mJ/p mJ/p

300 nm mJ/p mJ/p

295 nm mJ/p mJ/p

290 nm mJ/p mJ/p

285 nm mJ/p mJ/p

280 nm mJ/p mJ/p

275 nm mJ/p mJ/p

270 nm mJ/p mJ/p

265 nm mJ/p mJ/p

260 nm mJ/p mJ/p

255 nm mJ/p mJ/p

250 nm mJ/p mJ/p

245 nm mJ/p mJ/p

240 nm mJ/p mJ/p

235 nm mJ/p mJ/p

230 nm mJ/p mJ/p

225 nm mJ/p mJ/p

220 nm mJ/p mJ/p

215 nm mJ/p mJ/p

210 nm mJ/p mJ/p

205 nm mJ/p mJ/p


PAGE  
1

