Measurement report for an excitation emission spectrum

Burner:
H2/O2 wt
 (C2H2/O2, H2/O2 welding torch or CH4/air Bunsen burner)
Start-Wavelength:
VIS:
645,5
 nm
UV:
322,75

Stop-Wavelength:
VIS:
603,5
 nm
UV:
301,75

Step size:
VIS:
0,03
 nm (0,04 nm)
(
UV:
0,015
 nm (0,02 nm)
Loopcount:
1407

Location of detection:
laser beam goes through the centre of the flame  FORMCHECKBOX 


total height of flame: 420
 mm


height of interior cone: 10
 mm


height of the laser beam above the torch: 125
 mm 


laser beam below the peak of interior cone:  

focus of  laser (before) the centre of flame: 40
 mm


focus of VIS: 

focus of UV: 


Camera:
flamestar old, 12 bit
 (Flamestar old or Flamestar II FS)
Gain:
9,7

Trigger from laser:
QS-Sync Trigger. High precision trigger

Delay:
5040
 ns
(160 ns)
Width:
30
 ns
(50 ns)
Cooling water:
15
 °C
(10°C to 15°C)
Cooling peltier:
10,1
 °C
(10°C)
Spectrograph:
1200
 l/mm
(100 l/mm or 1200 l/mm)
Centre WL:
312,77
 nm

Range:
294,96
 nm to 330,58 nm   (about 400 nm or 35 nm)

Entrance slit:
80
 µm 
(50µm)
Laser:
470
 mJ/p (450 mJ/p) IR corresponds to 210
 mJ/p (200 mJ/p) at 355nm
Lamp voltage: 537,4
  V

Rep.-Rate:
10
 Hz 
(10 Hz)
Acquisition Timing:
10
 pulses summed
(30 to 50 pulses)
Focus lens:
300
 mm focus length 
(300 mm)
Polrotator:
near min
 for VIS (minimum, if no UV; maximum if UV)

min  (-3,6)
 for UV (minimum if UV)

(different E-vector direction of OPO and SHG !)

Mirror:


     


Spectrum 1:
center
 (e.g. interior cone of the flame)


from line 126
 to line 160

Spectrum 2:

 (e.g. outer range of flame)


from line
 to line

Miscellaneous:








Wavelength check:

[image: image1.emf]laser wavelength 

measured with 

spectrograph

laser wavelength at XPO 

program

308,56 308,83 / 617,56

307,57 307,5 / 615

302,56 302,5 / 605

325,05 325 / 650


Pulse energy:

[image: image2.emf]before: 335 nm mJ/p after: mJ/p

330 nm mJ/p mJ/p

325 nm mJ/p mJ/p

320 nm mJ/p mJ/p

315 nm 0,53 mJ/p mJ/p

310 nm 0,7 mJ/p mJ/p

305 nm 0,9 mJ/p mJ/p

300 nm 1,2 mJ/p mJ/p

295 nm mJ/p mJ/p

290 nm mJ/p mJ/p

285 nm mJ/p mJ/p

280 nm mJ/p mJ/p

275 nm mJ/p mJ/p

270 nm mJ/p mJ/p

265 nm mJ/p mJ/p

260 nm mJ/p mJ/p

255 nm mJ/p mJ/p

250 nm mJ/p mJ/p

245 nm mJ/p mJ/p

240 nm mJ/p mJ/p

235 nm mJ/p mJ/p

230 nm mJ/p mJ/p

225 nm mJ/p mJ/p

220 nm mJ/p mJ/p

215 nm mJ/p mJ/p

210 nm mJ/p mJ/p

205 nm mJ/p mJ/p


PAGE  
1

