Measurement report for an excitation emission spectrum

Burner:
C2H2/O2 wt
 (C2H2/O2, H2/O2 welding torch or CH4/air Bunsen burner)
Start-Wavelength:
VIS:
300,5 FORMTEXT 

     

 nm
UV:


Stop-Wavelength:
VIS:
299 FORMTEXT 

     

 nm
UV:


Step size:
VIS:
0,03
 nm (0,04 nm)
(
UV:
0,015
 nm (0,02 nm)
Loopcount:
1967

Location of detection:
laser beam goes through the centre of the flame  FORMCHECKBOX 


total height of flame: 600
 mm


height of interior cone: 110
 mm


height of the laser beam above the torch: 75
 mm 


laser beam below the peak of interior cone:  35
 mm 


focus of  laser (before) the centre of flame: 40
 mm


focus of VIS: 

focus of UV: 


Camera:
flamestar old, 12 bit
 (Flamestar old or Flamestar II FS)
Gain:
8,3

Trigger from laser:
QS-Sync Trigger. High precision trigger

Delay:
5040
 ns
(160 ns)
Width:
30
 ns
(50 ns)
Cooling water:
14
 °C
(10°C to 15°C)
Cooling peltier:
10,1
 °C
(10°C)
Spectrograph:
100
 l/mm
(100 l/mm or 1200 l/mm)
Centre WL:
450,01
 nm

Range:
241,11
 nm to 658,9 nm   (about 400 nm or 35 nm)

Entrance slit:
80
 µm 
(50µm)
Laser:
470
 mJ/p (450 mJ/p) IR corresponds to 210
 mJ/p (200 mJ/p) at 355nm
Lamp voltage: 536,4
  V

Rep.-Rate:
10
 Hz 
(10 Hz)
Acquisition Timing:
10
 pulses summed
(30 to 50 pulses)
Focus lens:
300
 mm focus length 
(300 mm)
Polrotator:


min  (-3,8)
 for UV (minimum if UV)

(different E-vector direction of OPO and SHG !)

Mirror:
Double prism 


     


Spectrum 1:
center
 (e.g. interior cone of the flame)


from line 129
 to line 143

Spectrum 2:
off-center
 (e.g. outer range of flame)


from line 89
 to line 119

Miscellaneous:
Only UV


10 pulses averaged (because of high OH LIF intensity)



No self emission



At 652 nm the interior cone decreased from 120 to 110mm



At 632 nm flame increased


Wavelength check:

[image: image1.emf]laser wavelength 

measured with 

spectrograph

laser wavelength at XPO 

program


Pulse energy:

[image: image2.emf]before: 335 nm mJ/p after: mJ/p

330 nm mJ/p mJ/p

325 nm mJ/p mJ/p

320 nm mJ/p mJ/p

315 nm mJ/p mJ/p

310 nm mJ/p mJ/p

305 nm mJ/p mJ/p

300 nm mJ/p mJ/p

295 nm mJ/p mJ/p

290 nm mJ/p mJ/p

285 nm mJ/p mJ/p

280 nm mJ/p mJ/p

275 nm mJ/p mJ/p

270 nm mJ/p mJ/p

265 nm mJ/p mJ/p

260 nm mJ/p mJ/p

255 nm mJ/p mJ/p

250 nm mJ/p mJ/p

245 nm mJ/p mJ/p

240 nm mJ/p mJ/p

235 nm mJ/p mJ/p

230 nm mJ/p mJ/p

225 nm mJ/p mJ/p

220 nm mJ/p mJ/p

215 nm mJ/p mJ/p

210 nm mJ/p mJ/p

205 nm mJ/p mJ/p


PAGE  
1

